Electric Job Briefing and Planning Checklist

| Qualified Electric Workers: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Division: | COO/FM&L |  | Location: |  |

| Work Scope: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Type of Work: |  |  |  |  |  |  |  | Subcontractor? |  |  |  |  |  | ☐ Yes |  |  | ☐ No |  |
|  |  |  | ☐ Testing |  | ☐ |  | Troubleshooting |  | SOTR: |  |  |  |  |  |  |  |  |  |  |
|  |  |  | ☐ Maintenance |  | ☐ |  | Repair |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | ☐ Removal |  | ☐ |  | Install |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the work impact operations? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | ☐ Yes |  |  |  | ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Have proper notifications been made? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | ☐ Yes |  |  |  | ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | List: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Work Hazards: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Is the equipment energized? |  |  |  |  |  |  |  |  |  |  |  | Multiple power sources? |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ☐ Yes |  |  |  |  | ☐ No |  |  |  |  |  |  | ☐ Yes |  |  | ☐ No |  |  |  |  |  |
|  |  | Can the equipment be de-energized? |  |  |  |  |  |  |  |  |  |  |  | Can you de-energize both power sources? |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ☐ Yes |  |  |  |  | ☐ No |  |  |  |  |  |  | ☐ Yes |  |  | ☐ No |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Primary Voltage: |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | 120/208 VAC |  |  |  |  | ☐ |  | > 50VDC |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | 277/480 VAC |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  | > 480 VAC |  |  |  |  |  |  |  |  |
|  |  | Shock Protection Boundaries: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Distance: |  |  | 42” |  |  |  |  |  |  |  |  |  |  |  | Arc Flash PPE 11Cals |  |  |  |  |  |  |  |
|  |  |  |  |  | Tape & Cones |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Confined Space? |  |  |  |  |  |  |  |  |  |  |  | Confined Space Permit? |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ☐ Yes |  |  |  |  | ☐ No |  |  |  |  |  |  | ☐ Yes |  |  |  |  |  |  | ☐ No |  |

| Job Information: Work Order Numbers: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Description of the work: |  |  |  |  |  |  |  |  |

| Authorizing Signatures: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Lead Qualified Electrical Worker |  |  |  |  | Lead Qualified Electrical Worker’s Supervisor |  |  |  |
|  | Print |  |  |  |  | Print |  |  |  |
|  | Signature |  |  |  |  | Signature |  |  |  |