Electric Job Briefing and Planning Checklist

Guideline:

This checklist must be used when a worker will be exposed to an electrical hazard of 50 volts or more during troubleshooting equipment, or preventive or corrective maintenance.  The Checklist must be reviewed and approved by a competent individual in your respected department

- Workers make copies of these checklist’s and bring them to the daily briefing meeting.

- Daily meetings are to occur

  - Either the end of the shift for the next morning

  - First thing in the morning before work is to proceed

- At the daily briefing meeting with the competent personnel

  - Work Order Numbers are written on the checklist

  - Scope, Hazards, Safety/Emergency Training are discussed

  - Competent person signs off on the checklist

- Worker assigned to the job maintain the checklist until the work is completed

  - If work extends for more than one day, for those additional days scope and hazards must be discussed at the daily meeting

- When the work is completed

  - The paper copy is provided to Ariel

  - Ariel makes a PDF copy and sends it to Tim Fitzgerald

  - Ariel retains/files the paper copy

- If emerging work happens get with a competent person in your department to generate a sheet prior to work proceeding.

- This is a Mandatory Procedure